## Vertical
Course code | Electronic Instrumentation |  | Intendend Learning Outcomes
| Session (each 90 minutes, can combine 2 into a 3 hour session) | Session title | Type (lecture, practical, work) | Main topic/description | subtopics (old practical numbers) | Briefly (name-dropping, stand-alone concepts) | Linkage to previous courses | Linkage to following courses | Assignment
Week 1 | Week 1-session 1 | intro whole course + internal resistance | lecture/ work session (2h) | intro whole course + internal resistance |  |  | E&M |  | * see schedule below
| Week 1-session 2 | intro to equipment | practicum (3h) | intro power supply, intro func gen, measure internal resistances + buffering opamp, explore Thevenin-Norton, grounds | 1A, 1B, 2C | INTRO 1: 1. maak voltage divider lage R, 2. maak voltage divider hoge R, 3. voeg buffer opamp toe, 4. doormeten generator als Thevenin-Norton,
| Week 1-session 3 | time-frequency domein, Capacitors&Inductors, LTSpice - theory | lecture/ work session (2h) | time-frequency domein, Capacitors&Inductors, LTSpice |  |  |  | general FFT (Imaging courses)
| Week 1-session 4 | time-frequency domein, Capacitors&Inductors, LTSpice - practice | practicum (3h) | FFT, intro oscilloscope (incl triggering, fft), RC circuit, scope probe, LTSpice | 1C, 2A, 2B, 3A, (3B, 3C), 4A | INTRO 2: 1. AC signal scope +FFT, 2. simuleren en doormeten RC circuit (ALPACA alleen breadboard), 3. scope probe instellen voor blokgolf, 4. grounds.
week 2 | Week 2-session 1 | microcontroller-theory | lecture/ work session (2h) | intro microcontroller, ADC/DAC, |  |  | Programming Foundations (Python) | Comp Sci, bio info (Python learning line)
| Week 2-session 2 | microcontroller-practice | practicum (3h) | ALPACA (incl differential measurement), bandpass filters, pwm -> analog (RC filter), make your own ADC (incl timing) | 2C, 4B, 4C | INTRO 3: 1. zend een signaal (DC, AC, PWM). 2. (FET) schakelaar via PWM weerstand verhitten. 3. lees uit (LM35, DS1022) via onbaord ADC differential: 4. maak PCR cyclus
| Week 2-session 3 | automation | lecture/ work session (2h) | automation |  |  | python learning line | python learning line
| Week 2-session 4 | automation | practicum (3h) | Whack the mole (automation, synchronisation), time (phase?), measurement with ultrasound? | 6C, 8A | 1 whack the mole (reactiesnelheidmeting),2 dichtheidsmeting met piezo
Week 3 | Week 3-session 1 | digital signal processing | lecture/ work session (2h) | digital signal processing |  |  | python learning line | python learning line, imaging (aliasing)
| Week 3-session 2 | digital signal processing | practicum (3h) | Aliasing, antialiasing, filtering, averaging, | 8B, 8C, 9A, 9B, 9C | 1. aliasing+RC filter (oscilloscope), 2. undersampling (meerdere metingen combineren tot nuttige data): fluorescentie, stemvork?? |  | imaging courses
| Week 3-session 3 | ideal opamp circuits | lecture/ work session (2h) | opamps
| Week 3-session 4 | opamps | practicum (3h) | non-inverting or inverting opamp, pos/neg gain opamp circuit | 12A, 12B, 12C | 1. stuur met opamp LED aan (colorimeter, UI convert), 2. photodiode I-U . (meet reflectie, hoek, afstand) pulse oxi meter? |  | modelling dynamical systems (specifically feedback)
Week 4 | Week 4-session 1 | non-ideal opamps | lecture/ work session (2h) | non-ideal opamps
| Week 4-session 2 |  | practicum (3h) | opamp+RC -> integrator, differentiator, sample-hold (incl switches), pico amp amplifier (membrane), bias stroom | 13A, 13B, 13C | pico amp meter, 1. simpele opamp, 2. integrator (met relays reset), 3. bias (tamed), 4. nanopore measurement????
| Week 4-session 3 | diodes | lecture/ work session (2h) | diodes
| Week 4-session 4 |  | practicum (3h) | diode clipper, half-wave and full-wave recitifiers, photodiode | 11A,11B,11C | 1. clipper (ingang beschermen), 2. rectifiers (AC -> DC), 3. temperatuursensor (UI meting, constante Boltzman)
Week 5 | Week 5-session 1 | differential measurements | lecture/ work session (2h) | differential measurements, differential amplification
| Week 5-session 2 |  | practicum (3h) | differential measurements, RLC wheatstone bridge | 14A (LTSpice -> measure), (with capacitive sensor, humidity sensor) | humidity sensor, capacatieve meting, brugschakeling, doormeten coax kabel (RLC)? |  | nanobiology technology?
| Week 5-session 3 | oscillator | lecture/ work session (2h)
| Week 5-session 4 |  | practicum (3h) | comparator, oscillator, color sensor | 14B, 16ABC | 1. comparator, 2. oscillator, 3. reflectie meten van kleur |  | nanobiology technology? Modeling Dynamical Systems (MSc)?
Week 6 | Week 6-session 1 | advanced signal processing | lecture/ work session (2h) |  |  |  | python learning line | python learning line
| Week 6-session 2 |  | practicum (3h) | lock-in amplifier, synchrone detection |  | conductiviteit. Oplossing met cellen (celmassa meten). |  | nanobiology technology?
| Week 6-session 3 | noise&interference | lecture/ work session (2h)
| Week 6-session 4 |  | practicum (3h) | noise & interference, |  | EMC?, capacitieve / inductieve koppeling, nette proefopstelling? Ladingsmeting, invloed grote zak zoutoplossing. |  | nanobiology technology?
Week 7 | Week 7-session 1 | Integrated Precision Testing Systems? | lecture/ work session (2h)
| Week 7-session 2 |  | practicum (3h) | source measure unit, UI characteristics, diode temp sensor | ? Koppelt naar bionanotech/ molecular biology |  |  | nanobiology technology?
| Week 7-session 3 | transistors | lecture/ work session (2h)
| Week 7-session 4 |  | practicum (3h) | transistor | ? Koppelt naar bionanotech/ molecular biology |  |  | nanobiology technology?
Week 8 | Week 8-session 1 | voltammetry setup | lecture/ work session (2h) | voltammetry: intro + specifications | 17-18-19
| Week 8-session 2 |  | practicum (3h) | build setup + measure buffer |  |  |  | nanobiology technology?
| Week 8-session 3 | voltammetry measurements | lecture/ work session (2h) | voltammetry - Q&A | 17-18-19
| Week 8-session 4 |  | practicum (3h) | voltammetry application: measure with paracetamol (irreversible) |  |  |  | nanobiology technology?
Week 9 | Repair session |  | practicum (3h)/ report writing
| Case Study |  | case study in controlled environment | digital, ANS
overall timing | 4ec = 112 h | description | summative assessment | formative assessment
8 weeks x 10h | 80 | practicum in which TA checks&discuss per pairs of students for each assignment and gives feedback |  | pass/fail, per pair
case study in controlled environment | 2 | case study, student can bring halfpagers (or any printed notes) and get a case study to solve in 1 hour | graded, per student, each student can bring their printed half-pagers (and other matrials) to this case study which is in an controlled environment |  | Challenge: Can we get their handed in onepagers to a shielded individual environment. (we want the students to work with their own onepagers). Otherwise print it?
homework (session prep) 16x0.5 | 8
finalizing one-pagers (session eval) 16x0.5 | 8 | 1 one pager per practicum session handed in via BrightSpace, 2 one-pagers per week. Format is provided, can be filled in during practicum. |  | hand in each week (check on handed in, and plagiarism), no grade, peer feedback | https://repository.tudelft.nl/file/File_312213f2-db5e-42ef-98f0-510decafb5a3
quiz at start practicum |  |  |  | per student, incl. automatic feedback
peer feedback on half pagers | 8 | students get a rubric (general criteria, plus assignment specific) for both one-pagers per week. They give peer feedback on the work of another group, and receive feedback on theirs. Student can repair those (to improve for the case study) |  | peer feedback given and received is pass/fail, each week another group. Possibly ask to compare their own report with the group they review (for monitoring the group, and summative feedback)

## Horizontal
Course code | Course name |  |  | Learning Outcomes
| Week 1 |  |  |  | week 2 |  |  |  | Week 3 |  |  |  | Week 4 |  |  |  | Week 5 |  |  |  | Week 6 |  |  |  | Week 7 |  |  |  | Week 8 |  |  |  | Week 9
Session (each 2 hours) | Week 1-session 1 | Week 1-session 2 | Week 1-session 3 | Week 1-session 4 | Week 2-session 1 | Week 2-session 2 | Week 2-session 3 | Week 2-session 4 | Week 3-session 1 | Week 3-session 2 | Week 3-session 3 | Week 3-session 4 | Week 4-session 1 | Week 4-session 2 | Week 4-session 3 | Week 4-session 4 | Week 5-session 1 | Week 5-session 2 | Week 5-session 3 | Week 5-session 4 | Week 6-session 1 | Week 6-session 2 | Week 6-session 3 | Week 6-session 4 | Week 7-session 1 | Week 7-session 2 | Week 7-session 3 | Week 7-session 4 | Week 8-session 1 | Week 8-session 2 | Week 8-session 3 | Week 8-session 4 | Q&A | Practice exam
Session title | Introduction to
Type (lecture, practical, work)
Main topic/description
subtopics
Briefly (name-dropping, stand-alone concepts)
Linkage to previous courses
Linkage to following courses
Assignment